{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["B.2 最高投标限价扉页(单位工程)","D.3 单位工程最高投标限价汇总表","E.1 分部分项工程量清单计价表","F 措施项目清单与计价表","G 不可竞争项目清单与计价表","H.1 其他项目清单与计价汇总表","I 税金计价表","承包人供应材料一览表"],"not_rendered":{"external_links":1,"defined_names":8},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"B.2 最高投标限价扉页(单位工程)","index":0,"n_rows":19,"n_cols":9,"rows_kept":19,"merged":[[1,2,1,7],[1,8,1,9],[3,0,3,10],[5,0,5,3],[5,4,5,8],[7,1,7,3],[7,4,7,8],[9,0,9,2],[9,3,9,4],[9,7,9,10],[10,3,10,4],[10,7,10,10],[12,0,12,2],[12,3,12,4],[12,7,12,10],[13,3,13,4],[13,7,13,10],[15,0,15,2],[15,3,15,4],[15,7,15,10],[16,3,16,4],[16,7,16,10],[18,0,18,2],[18,3,18,4],[18,7,18,10]],"flags":["formulas_cached_only"]}
[]
[null,null,"市人民医院设备楼配电房改造工程",{"$nulls":5},"工程"]
[]
["最高投标限价"]
[]
["最高投标限价(小写)：",{"$nulls":3},"57565.98"]
[]
[null,"           (大写)：",null,null,"伍万柒仟伍佰陆拾伍元玖角捌分整"]
[]
["招  标  人：",{"$nulls":5},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
["法定代表人\n或其授权人：",{"$nulls":5},"法定代表人\n或其授权人："]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
["编  制  人：",{"$nulls":5},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
["编制时间：",null,null,"2018年11月1日",null,null,"复核时间：","2018年11月1日"]

{"sheet":"D.3 单位工程最高投标限价汇总表","index":1,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,1,3,2],[3,4,3,6],[4,1,4,2],[4,4,4,6],[5,1,5,2],[5,4,5,6],[6,1,6,2],[6,4,6,6],[7,1,7,2],[7,4,7,6],[8,1,8,2],[8,4,8,6],[9,1,9,2],[9,4,9,6],[10,1,10,2],[10,4,10,6],[11,1,11,2],[11,4,11,6],[12,1,12,2],[12,4,12,6],[13,1,13,2],[13,4,13,6],[14,1,14,2],[14,4,14,6],[15,1,15,2],[15,4,15,6],[16,1,16,2],[16,4,16,6],[17,1,17,2],[17,4,17,6],[18,1,18,2],[18,4,18,6],[19,1,19,2],[19,4,19,6],[20,1,20,2],[20,4,20,6],[21,1,21,2],[21,4,21,6],[22,1,22,2],[22,4,22,6],[23,1,23,2],[23,4,23,6],[24,1,24,2],[24,4,24,6],[25,1,25,2],[25,4,25,6],[26,1,26,2],[26,4,26,6],[27,1,27,2],[27,4,27,6],[28,1,28,2],[28,4,28,6],[29,1,29,2],[29,4,29,6],[30,1,30,2],[30,4,30,6],[31,1,31,2],[31,4,31,6],[32,1,32,2],[32,4,32,6],[33,1,33,2],[33,4,33,6],[34,1,34,2],[34,4,34,6],[35,1,35,2],[35,4,35,6],[36,1,36,2],[36,4,36,6],[37,1,37,2],[37,4,37,6],[38,1,38,2],[38,4,38,6],[39,1,39,2],[39,4,39,6],[40,0,40,2],[40,4,40,6],[42,0,42,5]],"flags":["formulas_cached_only"]}
["单位工程最高投标限价汇总表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,"金额(元)","其中:材料、设备暂估价(元)"]
["1","分部分项工程费",null,"45288.16","0.00"]
["1.1","通用安装工程",null,"45288.16"]
["2","措施项目费",null,"757.69"]
["3","不可竞争费",null,"1286.86"]
["3.1","安全文明施工费",null,"1286.86"]
["3.2","工程排污费",null,"0.00"]
["4","其他项目费",null,"5000.00"]
["4.1","暂列金额",null,"5000.00"]
["4.2","专业工程暂估价",null,"0.00"]
["4.3","计日工",null,"0.00"]
["4.4","总承包服务费",null,"0.00"]
["5","税金",null,"5233.27"]
{"$rows_empty":24}
["工程造价=1+2+3+4+5",null,null,"57565.98","0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2018年11月02日"]

{"sheet":"E.1 分部分项工程量清单计价表","index":2,"n_rows":68,"n_cols":13,"rows_kept":68,"merged":[[0,0,0,12],[2,0,2,3],[2,4,2,7],[2,8,2,12],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,12],[4,6,5,6],[4,7,5,9],[4,10,4,12],[6,2,6,3],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,7,14,9],[15,7,15,9],[16,7,16,9],[17,7,17,9],[18,7,18,9],[19,7,19,9],[20,7,20,9],[21,7,21,9],[22,7,22,9],[23,7,23,9],[25,0,25,8],[25,9,25,12],[26,0,26,12],[28,0,28,3],[28,4,28,7],[28,8,28,12],[29,0,31,0],[29,1,31,1],[29,2,31,2],[29,3,31,3],[29,4,31,4],[29,5,31,5],[29,6,29,12],[30,6,31,6],[30,7,31,9],[30,10,30,12],[32,7,32,9],[33,7,33,9],[34,7,34,9],[35,7,35,9],[36,7,36,9],[37,7,37,9],[38,7,38,9],[39,7,39,9],[40,7,40,9],[41,7,41,9],[42,7,42,9],[43,7,43,9],[44,7,44,9],[45,7,45,9],[46,7,46,9],[47,7,47,9],[48,7,48,9],[49,7,49,9],[50,7,50,9],[51,7,51,9],[52,7,52,9],[53,7,53,9],[54,7,54,9],[55,7,55,9],[56,7,56,9],[57,7,57,9],[58,7,58,9],[59,7,59,9],[60,7,60,9],[61,7,61,9],[62,7,62,9],[63,7,63,9],[64,7,64,9],[65,7,65,9],[67,0,67,8],[67,9,67,12]],"flags":["formulas_cached_only"]}
["分部分项工程量清单计价表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
[null,null,"C 通用安装工程",null,null,"1","45288.16","45288.16",null,null,"11695.85","330.80","0.00"]
["1","030408001001","电力电缆","1.名称:电缆\n2.型号:YJV(JV)\n3.规格:4*150\n4.电压等级:1KV","m","40","341.60","13664.00",null,null,"347.60","120.40","0.00"]
["2","030408006001","电力电缆头","1.名称:150冷缩中间接头\n2.规格:150\n3.材质、类型:冷缩\n4.电压等级(kV):1KV","个","3","1765.44","5296.32",null,null,"714.00","0.00","0.00"]
["3","030404019001","控制开关","1.名称:GXL-AT柜开关\n2.额定电流(A):400A","个","1","490.30","490.30",null,null,"70.00","0.00","0.00"]
["4","WB030402004001","低压成套配电柜","1.名称:MX型低压柜移至男卫生间墙上","台","1","307.02","307.02",null,null,"238.00","0.00","0.00"]
["5","030411004001","配线","1.名称:MX型低压柜重新布线\n2.配线形式:管内穿动力线\n3.规格:2.5mm2","m","65","21.74","1413.10",null,null,"29.25","0.00","0.00"]
["6","WB030402004002","低压成套配电柜","1.名称:APJ柜移至西侧房间（含基础）","台","1","505.68","505.68",null,null,"392.00","0.00","0.00"]
["7","030408001002","电力电缆","1.名称:APJ柜进线电缆出线电缆重新布线\n2.规格:10mm2\n3.电压等级:1KV","m","80","21.67","1733.60",null,null,"1344.00","0.00","0.00"]
["8","WB030402004003","低压成套配电柜","1.名称:SBW-R稳压器移至西侧房间（含基础）","台","1","541.80","541.80",null,null,"420.00","0.00","0.00"]
["9","030411004004","配线","1.名称:SBW-R稳压器线路整理\n2.规格:2.5mm2\n3.材质:铜芯\n4.配线部位:管内","m","55","19.86","1092.30",null,null,"847.00","0.00","0.00"]
["10","WB030402004006","低压成套配电柜","1.名称:GXL-AT柜移至二楼（含基础）","台","1","505.68","505.68",null,null,"392.00","0.00","0.00"]
["11","WB030402004007","低压成套配电柜","1.名称:GXL-AT柜拆除","台","1","216.72","216.72",null,null,"168.00","0.00","0.00"]
["12","030411004003","配线","1.名称:GXL-AT柜线路重新布线\n2.配线形式:管内\n3.规格:2.5mm2","m","110","19.60","2156.00",null,null,"2156.00","0.00","0.00"]
["13","030404019002","控制开关","1.名称:GXL-AT柜内部开关拆除\n2.额定电流(A):400A","个","5","39.73","198.65",null,null,"154.00","0.00","0.00"]
["14","030408006002","电力电缆头","1.名称:终端接头\n2.规格:150mm2\n3.电压等级(kV):1KV","个","85","57.79","4912.15",null,null,"3808.00","0.00","0.00"]
["15","030411003001","桥架","1.名称:桥架","m","20","152.04","3040.80",null,null,"140.00","210.40","0.00"]
["16","010101003001","挖沟槽土方","1.土壤类别:三类土","m3","2","307.02","614.04",null,null,"476.00","0.00","0.00"]
["17","ZB001001001001","电缆雕刻牌",null,"个","30","20.00","600.00",null,null,"0.00","0.00","0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":8},"2018年11月02日"]
["分部分项工程量清单计价表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：",{"$nulls":3},"第2页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
["18","WB030402004005","低压成套配电柜","1.名称:APJ、SBW-R、GXL-AT、MX低压柜调试","台","4","2000.00","8000.00",null,null,"0.00","0.00","0.00"]
{"$rows_empty":34}
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":8},"2018年11月02日"]

{"sheet":"F 措施项目清单与计价表","index":3,"n_rows":33,"n_cols":9,"rows_kept":33,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,3,29,6],[30,0,30,2],[30,3,30,6],[32,0,32,5],[32,6,32,8]],"flags":["formulas_cached_only"]}
["措施项目清单与计价表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","AC-01","夜间施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.5","60.13"]
["2","AC-02","二次搬运费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"1","120.27"]
["3","AC-03","冬雨季施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.7","84.19"]
["4","AC-04","已完工程及设备保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.3","36.08"]
["5","AC-05","工程定位复测费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.6","72.16"]
["6","AC-06","非夜间施工照明费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.6","72.16"]
["7","AC-07","临时保护设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.1","12.03"]
["8","AC-08","赶工措施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"2.5","300.67"]
{"$rows_empty":18}
["合  计",{"$nulls":7},"757.69"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2018年11月02日"]

{"sheet":"G 不可竞争项目清单与计价表","index":4,"n_rows":36,"n_cols":9,"rows_kept":36,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,3,29,6],[30,3,30,6],[31,3,31,6],[32,3,32,6],[33,0,33,2],[33,3,33,6],[35,0,35,5],[35,6,35,8]],"flags":["formulas_cached_only"]}
["不可竞争项目清单与计价表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","AF-01","环境保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.9","108.24"]
["2","AF-02","文明施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"2.8","336.75"]
["3","AF-03","安全施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"2.4","288.64"]
["4","AF-04","临时设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"4.6","553.23"]
["5","AF-05","工程排污费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0","0.00"]
{"$rows_empty":24}
["合  计",{"$nulls":7},"1286.86"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2018年11月02日"]

{"sheet":"H.1 其他项目清单与计价汇总表","index":5,"n_rows":43,"n_cols":5,"rows_kept":43,"merged":[[0,0,0,4],[2,0,2,1],[2,3,2,4],[3,1,3,3],[4,1,4,3],[5,1,5,3],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,1,14,3],[15,1,15,3],[16,1,16,3],[17,1,17,3],[18,1,18,3],[19,1,19,3],[20,1,20,3],[21,1,21,3],[22,1,22,3],[23,1,23,3],[24,1,24,3],[25,1,25,3],[26,1,26,3],[27,1,27,3],[28,1,28,3],[29,1,29,3],[30,1,30,3],[31,1,31,3],[32,1,32,3],[33,1,33,3],[34,1,34,3],[35,1,35,3],[36,1,36,3],[37,1,37,3],[38,1,38,3],[39,1,39,3],[40,0,40,3],[42,0,42,3]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",null,"标段：","第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,"5000.00"]
["2","专业工程暂估价",null,null,"0.00"]
["3","计日工",null,null,"0.00"]
["4","总承包服务费",null,null,"0.00"]
{"$rows_empty":32}
["合  计",{"$nulls":3},"5000.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":3},"2018年11月02日"]

{"sheet":"I 税金计价表","index":6,"n_rows":42,"n_cols":9,"rows_kept":42,"merged":[[0,0,0,8],[2,0,2,2],[2,3,2,4],[2,5,2,8],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,2,38,3],[38,4,38,5],[38,6,38,7],[39,0,39,5],[39,6,39,7],[41,0,41,6],[41,7,41,8]],"flags":["formulas_cached_only"]}
["税金计价表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项 目 名 称","计算基础",null,"计算基数",null,"费率(%)",null,"金额(元)"]
["1","税金","分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"52332.71",null,"10",null,"5233.27"]
{"$rows_empty":34}
["合  计",{"$nulls":7},"5233.27"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":6},"2018年11月02日"]

{"sheet":"承包人供应材料一览表","index":7,"n_rows":58,"n_cols":11,"rows_kept":58,"merged":[[0,0,0,10],[2,0,2,3],[2,4,2,6],[2,7,2,10],[3,6,3,8],[4,6,4,8],[5,6,5,8],[6,6,6,8],[7,6,7,8],[8,6,8,8],[9,6,9,8],[10,6,10,8],[11,6,11,8],[12,6,12,8],[13,6,13,8],[14,6,14,8],[15,6,15,8],[16,6,16,8],[17,6,17,8],[18,6,18,8],[19,6,19,8],[20,6,20,8],[21,6,21,8],[22,6,22,8],[23,6,23,8],[24,6,24,8],[25,6,25,8],[26,6,26,8],[28,0,28,7],[28,8,28,10],[29,0,29,10],[31,0,31,3],[31,4,31,6],[31,7,31,10],[32,6,32,8],[33,6,33,8],[34,6,34,8],[35,6,35,8],[36,6,36,8],[37,6,37,8],[38,6,38,8],[39,6,39,8],[40,6,40,8],[41,6,41,8],[42,6,42,8],[43,6,43,8],[44,6,44,8],[45,6,45,8],[46,6,46,8],[47,6,47,8],[48,6,48,8],[49,6,49,8],[50,6,50,8],[51,6,51,8],[52,6,52,8],[53,6,53,8],[54,6,54,8],[55,6,55,8],[56,0,56,8],[57,0,57,7],[57,8,57,10]],"flags":["formulas_cached_only"]}
["承包人供应材料一览表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：",null,null,"第1页 共2页"]
["序号","材料编码","材料名称","规格型号\n等特殊要求","单位","数量","单价(元)",null,null,"合价(元)","备注"]
["1","2811A03B01BY","电力电缆","YJV-1KV-4*150","m","40.4","320",null,null,"12928.00"]
["2","0153A05B55CB","封铅","含铅65%锡35%","kg","3.476","22.22",null,null,"77.24"]
["3","0313A11B55BF","冲击钻头","φ12","个","0.046","6.75",null,null,"0.31"]
["4","0301A07B07C51CD","膨胀螺栓","M10","10套","0.644","2.5",null,null,"1.61"]
["5","0203A13B51BW","橡胶垫","δ2","m2","0.046","19.26",null,null,"0.89"]
["6","1305A97B01CB","沥青绝缘漆",null,"kg","0.092","2.79",null,null,"0.26"]
["7","1403A05B01CB","汽油",null,"kg","5.067","6.77",null,null,"34.30"]
["8","1431A02B01CB","硬脂酸",null,"kg","0.046","8.41",null,null,"0.39"]
["9","2927A01B00AE","电缆敷设牵引头(综合)",null,"只","0.046","316.24",null,null,"14.55"]
["10","2925A01B53AK","镀锌电缆吊挂","3.0×100","套","2.8566","3.07",null,null,"8.77"]
["11","2925A03B59AK","镀锌电缆卡子","3×100","套","10.7732","3.37",null,null,"36.31"]
["12","2927A19B00BF","电缆敷设滚轮(综合)",null,"个","0.092","239.32",null,null,"22.02"]
["13","2927A21B00BF","电缆敷设转向导轮(综合)",null,"个","0.046","324.79",null,null,"14.94"]
["14","0227A05B01CB","白布",null,"kg","3.248","6.67",null,null,"21.66"]
["15","3413A01B01BF","标志牌",null,"个","2.7646","1.37",null,null,"3.79"]
["16","2359300","其他材料费占材料费",null,"元","81.006549","1",null,null,"81.01"]
["17",{"$nulls":4},"0","0",null,null,"0.00"]
["18","0213A13B00CB","三色塑料带(综合)",null,"kg","3.36","35.87",null,null,"120.52"]
["19","0313A51B01CB","焊锡膏",null,"kg","0.144","14.53",null,null,"2.09"]
["20","0313A53B01CB","焊锡丝",null,"kg","0.72","54.1",null,null,"38.95"]
["21","1409A01B01CB","电力复合脂",null,"kg","0.288","20",null,null,"5.76"]
["22","2801A05B51CB","镀锡裸铜软绞线","TJRX 16mm2","kg","1.05","51.28",null,null,"53.84"]
[]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":7},"2018年11月02日"]
["承包人供应材料一览表"]
[]
["工程名称：市人民医院设备楼配电房改造工程",{"$nulls":3},"标段：",null,null,"第2页 共2页"]
["序号","材料编码","材料名称","规格型号\n等特殊要求","单位","数量","单价(元)",null,null,"合价(元)","备注"]
["23","2717A01B51AX","电气绝缘胶带","18mm×10m×0.13mm","卷","4.205","8.55",null,null,"35.95"]
["24","2909A19B52BF","铜接线端子","DT-16","个","3.06","1.7",null,null,"5.20"]
["25","2909A25B91BF","铜压接管","240mm2","个","11.28","24.44",null,null,"275.68"]
["26",{"$nulls":4},"2.31","1588",null,null,"3668.28"]
["27","5515A03B51BF","自动空气断路器","DZ型","个","1","400",null,null,"400.00"]
["28","5501A03B01AN","低压柜、集装箱式配电室",null,"台","5","0",null,null,"0.00"]
["29","2803A15B01BY","绝缘电线",null,"m","68.25","20",null,null,"1365.00"]
["30","0313A78B01CB","锡基钎料",null,"kg","0.065","54.1",null,null,"3.52"]
["31","0227A23B01CB","棉纱头",null,"kg","0.73","6",null,null,"4.38"]
["32","2811A03B01BY","电力电缆",null,"m","80.8","0",null,null,"0.00"]
["33","2803A15B01BY","绝缘电线",null,"m","173.25","0",null,null,"0.00"]
["34","5515A03B51BF","自动空气断路器","DZ型","个","5","0",null,null,"0.00"]
["35","2901A05B01BY","电缆桥架",null,"m","20.2","126",null,null,"2545.20"]
["36","0313A21B01CB","低碳钢焊条",null,"kg","1.002","6.84",null,null,"6.85"]
["37","1305A49B01CB","酚醛防锈漆",null,"kg","0.6","6.15",null,null,"3.69"]
["38","2803A39B73BY","铜芯塑料绝缘软电线","BVR-6mm2","m","3.404","3.27",null,null,"11.13"]
["39","2909A17B99BF","铜接地端子带螺栓","DT-6mm2","个","2.102","3.42",null,null,"7.19"]
["40","0313A34B89AT","砂轮片","φ100","片","0.06","1.71",null,null,"0.10"]
["41","0313A34B99AT","砂轮片","φ400","片","0.08","8.97",null,null,"0.72"]
["42","99","电缆雕刻牌",null,"个","30","20",null,null,"600.00"]
["43","5501A03B01AN","低压柜、集装箱式配电室",null,"台","4","2000",null,null,"8000.00"]
[]
[]
["合  计",{"$nulls":8},"30400.10"]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":7},"2018年11月02日"]