{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["A.2 最高投标限价封面(单位工程)","B.2 最高投标限价扉页(单位工程)","D.3 单位工程最高投标限价汇总表","E.1 分部分项工程量清单计价表","F 措施项目清单与计价表","G 不可竞争项目清单与计价表","H.1 其他项目清单与计价汇总表","H.2 暂列金额明细表","I 税金计价表","J.3 承包人提供材料(工程设备)一览表"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"A.2 最高投标限价封面(单位工程)","index":0,"n_rows":13,"n_cols":7,"rows_kept":13,"merged":[[1,2,1,5],[4,0,4,7],[6,1,6,2],[6,3,6,5],[9,1,9,2],[9,3,9,5],[12,0,12,7]],"flags":["formulas_cached_only"]}
[]
[null,null,"马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"工程"]
[]
[]
["最高投标限价"]
[]
[null,"招 标 人："]
[{"$nulls":4},"(单位盖章)"]
[]
[null,"造价咨询人："]
[{"$nulls":4},"(单位盖章)"]
[]
["2018年11月05日"]

{"sheet":"B.2 最高投标限价扉页(单位工程)","index":1,"n_rows":19,"n_cols":9,"rows_kept":19,"merged":[[1,2,1,7],[1,8,1,9],[3,0,3,10],[5,0,5,3],[5,4,5,8],[7,1,7,3],[7,4,7,8],[9,0,9,2],[9,3,9,4],[9,7,9,10],[10,3,10,4],[10,7,10,10],[12,0,12,2],[12,3,12,4],[12,7,12,10],[13,3,13,4],[13,7,13,10],[15,0,15,2],[15,3,15,4],[15,7,15,10],[16,3,16,4],[16,7,16,10],[18,0,18,2],[18,3,18,4],[18,7,18,10]],"flags":["formulas_cached_only"]}
[]
[null,null,"马鞍山市人民医院血透手术室维修改造工程",{"$nulls":5},"工程"]
[]
["最高投标限价"]
[]
["最高投标限价(小写)：",{"$nulls":3},"37393.69"]
[]
[null,"           (大写)：",null,null,"叁万柒仟叁佰玖拾叁元陆角玖分整"]
[]
["招  标  人：",{"$nulls":5},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
["法定代表人\n或其授权人：",{"$nulls":5},"法定代表人\n或其授权人："]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
["编  制  人：",{"$nulls":5},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
["编制时间：",null,null,"2018年11月5日",null,null,"复核时间：","2018年11月5日"]

{"sheet":"D.3 单位工程最高投标限价汇总表","index":2,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,1,3,2],[3,4,3,6],[4,1,4,2],[4,4,4,6],[5,1,5,2],[5,4,5,6],[6,1,6,2],[6,4,6,6],[7,1,7,2],[7,4,7,6],[8,1,8,2],[8,4,8,6],[9,1,9,2],[9,4,9,6],[10,1,10,2],[10,4,10,6],[11,1,11,2],[11,4,11,6],[12,1,12,2],[12,4,12,6],[13,1,13,2],[13,4,13,6],[14,1,14,2],[14,4,14,6],[15,1,15,2],[15,4,15,6],[16,1,16,2],[16,4,16,6],[17,1,17,2],[17,4,17,6],[18,1,18,2],[18,4,18,6],[19,1,19,2],[19,4,19,6],[20,1,20,2],[20,4,20,6],[21,1,21,2],[21,4,21,6],[22,1,22,2],[22,4,22,6],[23,1,23,2],[23,4,23,6],[24,1,24,2],[24,4,24,6],[25,1,25,2],[25,4,25,6],[26,1,26,2],[26,4,26,6],[27,1,27,2],[27,4,27,6],[28,1,28,2],[28,4,28,6],[29,1,29,2],[29,4,29,6],[30,1,30,2],[30,4,30,6],[31,1,31,2],[31,4,31,6],[32,1,32,2],[32,4,32,6],[33,1,33,2],[33,4,33,6],[34,1,34,2],[34,4,34,6],[35,1,35,2],[35,4,35,6],[36,1,36,2],[36,4,36,6],[37,1,37,2],[37,4,37,6],[38,1,38,2],[38,4,38,6],[39,0,39,2],[39,4,39,6],[41,0,41,5]],"flags":["formulas_cached_only"]}
["单位工程最高投标限价汇总表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,"金额(元)","其中:材料、设备暂估价(元)"]
["1","分部分项工程费",null,"29298.24","0.00"]
["2","措施项目费",null,"380.54"]
["3","不可竞争费",null,"815.48"]
["3.1","安全文明施工费",null,"815.48"]
["3.2","工程排污费",null,"0.00"]
["4","其他项目费",null,"3500.00"]
["4.1","暂列金额",null,"3500.00"]
["4.2","专业工程暂估价",null,"0.00"]
["4.3","计日工",null,"0.00"]
["4.4","总承包服务费",null,"0.00"]
["5","税金",null,"3399.43"]
{"$rows_empty":24}
["工程造价=1+2+3+4+5",null,null,"37393.69","0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2019年01月07日"]

{"sheet":"E.1 分部分项工程量清单计价表","index":3,"n_rows":60,"n_cols":13,"rows_kept":60,"merged":[[0,0,0,12],[2,0,2,3],[2,4,2,7],[2,8,2,12],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,12],[4,6,5,6],[4,7,5,9],[4,10,4,12],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,7,14,9],[15,7,15,9],[16,7,16,9],[17,7,17,9],[18,7,18,9],[19,7,19,9],[20,7,20,9],[21,7,21,9],[22,7,22,9],[24,0,24,8],[24,9,24,12],[25,0,25,12],[27,0,27,3],[27,4,27,7],[27,8,27,12],[28,0,30,0],[28,1,30,1],[28,2,30,2],[28,3,30,3],[28,4,30,4],[28,5,30,5],[28,6,28,12],[29,6,30,6],[29,7,30,9],[29,10,29,12],[31,7,31,9],[32,7,32,9],[33,7,33,9],[34,7,34,9],[35,7,35,9],[36,7,36,9],[37,7,37,9],[38,7,38,9],[39,7,39,9],[40,7,40,9],[41,7,41,9],[42,7,42,9],[43,7,43,9],[44,7,44,9],[45,7,45,9],[46,7,46,9],[47,7,47,9],[48,7,48,9],[49,7,49,9],[50,7,50,9],[51,7,51,9],[52,7,52,9],[53,7,53,9],[54,7,54,9],[55,7,55,9],[56,7,56,9],[57,7,57,9],[59,0,59,8],[59,9,59,12]],"flags":["formulas_cached_only"]}
["分部分项工程量清单计价表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
["1","011609002001","隔断隔墙拆除","1.:原有夹心彩钢板墙拆除","m2","11.01","7.22","79.49",null,null,"61.66","0.00","0.00"]
["2","011606002001","墙柱面龙骨及饰面拆除","1.:原有设备带柜子及包封水管饰面拆除","m2","7.65","3.07","23.49",null,null,"18.21","0.00","0.00"]
["3","011610001001","门窗拆除","1.:原有门窗拆除","m2","3.6","10.84","39.02",null,null,"30.24","0.00","0.00"]
["4","WB011614004001","建筑垃圾外运","汽车运建筑垃圾 运距在5km以内","项","1","200.00","200.00",null,null,"0.00","0.00","0.00"]
["5","010401003001","实心砖墙","1.砖品种、规格、强度级:240*115*53砼标准砖\n2.墙体类型:墙厚115\n3.砂浆强度级:M5混合砂浆","m3","0.33","740.46","244.35",null,null,"54.02","2.30","0.00"]
["6","011203001001","零星项目一般抹灰","1.:封堵门窗外墙面抹灰","m2","3.04","31.45","95.61",null,null,"45.87","3.19","0.00"]
["7","010605002001","钢板墙板","1.:新建100mm厚彩钢夹芯板墙","m2","14.64","173.76","2543.85",null,null,"116.83","14.64","0.00"]
["8","010802001001","金属门","1.门名称、代号及洞口尺寸:M1221\n2.门材质:成品铝合金平开门\n3.玻璃品种、厚度:5+12A+5钢化中空玻璃","樘","3","957.00","2871.00",null,null,"174.63","7.26","0.00"]
["9","011207001001","过道窗户封堵","1.基层材料种类、规格:18mm细木工板基层\n2.面层材料品种、规格、品牌、颜色:3mm铝塑板面层","m2","1.95","157.05","306.25",null,null,"49.14","2.93","0.00"]
["10","011207001002","无菌物品摆放室窗户封堵","1.:利用原有彩钢夹芯板封堵窗户","m2","0.9","29.43","26.49",null,null,"7.18","0.90","0.00"]
["11","WB011207005001","设备带柜子","1.骨架材料种类、规格、中距:40*3等边角钢\n2.面层材料品种、规格、品牌、颜色:木工板基层，铝塑板面层","m2","1.65","269.41","444.53",null,null,"74.42","7.19","0.00"]
["12","031001006001","塑料管","1.安装部位:埋地敷设\n2.介质:冷水\n3.规格、压力等级:DN25 PPR给水管\n4.连接形式:热熔连接","m","8.8","17.72","155.94",null,null,"71.37","0.18","0.00"]
["13","031001006002","塑料管","1.介质:污水\n2.规格、压力等级:DN50 UPVC排水管\n3.连接形式:粘接","m","2","17.36","34.72",null,null,"18.00","0.00","0.00"]
["14","WB031002004001","剔堵槽沟","混凝土结构 宽mm×深mm 70×70","m","8.8","24.15","212.52",null,null,"114.05","0.00","0.00"]
["15","补001","走道窗户渗水修补","1.:走道窗户渗水修补","项","1","400.00","400.00",null,null,"0.00","0.00","0.00"]
["16","补002","等候大厅柜子移位","等候大厅柜子移位","项","1","200.00","200.00",null,null,"0.00","0.00","0.00"]
[]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":8},"2019年01月07日"]
["分部分项工程量清单计价表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"标段：",{"$nulls":3},"第2页 共2页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
["17","WB011701009001","工具式脚手架","工具式脚手架","m2","4.5","2.84","12.78",null,null,"7.11","0.72","0.00"]
["18","031008006001","刷手池","1.规格、型号:1200*500*900不锈钢成品刷手池\n2.:不锈钢平开柜门，感应式水龙头一个以及配套五金配件","个","1","3423.00","3423.00",null,null,"345.80","104.28","0.00"]
["19","WB030307002002","医疗柜","1.名称:1200*600*800不锈钢成品医疗柜\n2.:不锈钢抽屉两个，不锈钢成品推拉柜门以及配套五金配件","个","1","2081.90","2081.90",null,null,"305.27","98.81","0.00"]
["20","WB011501001001","储物柜","1.柜体规格:储物柜\n2.材料种类、规格:18mm免漆板（木工板）\n3.五金种类、规格:含配套五金配件","m2","30","530.11","15903.30",null,null,"4229.40","75.00","0.00"]
{"$rows_empty":24}
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":8},"2019年01月07日"]

{"sheet":"F 措施项目清单与计价表","index":4,"n_rows":32,"n_cols":9,"rows_kept":32,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,0,29,2],[29,3,29,6],[31,0,31,5],[31,6,31,8]],"flags":["formulas_cached_only"]}
["措施项目清单与计价表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","ZC-01","夜间施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.5","30.20"]
["2","ZC-02","二次搬运费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"1.2","72.49"]
["3","ZC-03","冬雨季施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.7","42.28"]
["4","ZC-04","已完工程及设备保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.5","30.20"]
["5","ZC-05","工程定位复测费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.8","48.32"]
["6","ZC-06","非夜间施工照明费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.4","24.16"]
["7","ZC-07","临时保护设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.1","6.04"]
["8","ZC-08","赶工措施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"2.1","126.85"]
{"$rows_empty":17}
["合  计",{"$nulls":7},"380.54"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2019年01月07日"]

{"sheet":"G 不可竞争项目清单与计价表","index":5,"n_rows":36,"n_cols":9,"rows_kept":36,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,3,29,6],[30,3,30,6],[31,3,31,6],[32,3,32,6],[33,0,33,2],[33,3,33,6],[35,0,35,5],[35,6,35,8]],"flags":["formulas_cached_only"]}
["不可竞争项目清单与计价表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","ZF-01","环境保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"1","60.41"]
["2","ZF-02","文明施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"3.6","217.46"]
["3","ZF-03","安全施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"3.1","187.26"]
["4","ZF-04","临时设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"5.8","350.35"]
["5","ZF-05","工程排污费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0","0.00"]
{"$rows_empty":24}
["合  计",{"$nulls":7},"815.48"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":5},"2019年01月07日"]

{"sheet":"H.1 其他项目清单与计价汇总表","index":6,"n_rows":43,"n_cols":5,"rows_kept":43,"merged":[[0,0,0,4],[2,0,2,1],[2,3,2,4],[3,1,3,3],[4,1,4,3],[5,1,5,3],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,1,14,3],[15,1,15,3],[16,1,16,3],[17,1,17,3],[18,1,18,3],[19,1,19,3],[20,1,20,3],[21,1,21,3],[22,1,22,3],[23,1,23,3],[24,1,24,3],[25,1,25,3],[26,1,26,3],[27,1,27,3],[28,1,28,3],[29,1,29,3],[30,1,30,3],[31,1,31,3],[32,1,32,3],[33,1,33,3],[34,1,34,3],[35,1,35,3],[36,1,36,3],[37,1,37,3],[38,1,38,3],[39,1,39,3],[40,0,40,3],[42,0,42,3]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",null,"标段：","第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,"3500.00"]
["2","专业工程暂估价",null,null,"0.00"]
["3","计日工",null,null,"0.00"]
["4","总承包服务费",null,null,"0.00"]
{"$rows_empty":32}
["合  计",{"$nulls":3},"3500.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":3},"2019年01月07日"]

{"sheet":"H.2 暂列金额明细表","index":7,"n_rows":43,"n_cols":7,"rows_kept":43,"merged":[[0,0,0,6],[2,0,2,1],[2,2,2,3],[2,4,2,6],[3,3,3,5],[4,3,4,5],[5,3,5,5],[6,3,6,5],[7,3,7,5],[8,3,8,5],[9,3,9,5],[10,3,10,5],[11,3,11,5],[12,3,12,5],[13,3,13,5],[14,3,14,5],[15,3,15,5],[16,3,16,5],[17,3,17,5],[18,3,18,5],[19,3,19,5],[20,3,20,5],[21,3,21,5],[22,3,22,5],[23,3,23,5],[24,3,24,5],[25,3,25,5],[26,3,26,5],[27,3,27,5],[28,3,28,5],[29,3,29,5],[30,3,30,5],[31,3,31,5],[32,3,32,5],[33,3,33,5],[34,3,34,5],[35,3,35,5],[36,3,36,5],[37,3,37,5],[38,3,38,5],[39,3,39,5],[40,0,40,2],[40,3,40,5],[42,0,42,4],[42,5,42,6]],"flags":["formulas_cached_only"]}
["暂列金额明细表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",null,"标段：",null,"第1页 共1页"]
["序号","项 目 名 称","计量单位","暂定金额(元)",null,null,"备注"]
["1","预留金",null,"3500.00"]
{"$rows_empty":35}
["合   计",null,null,"3500.00",null,null,"—"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":4},"2019年01月07日"]

{"sheet":"I 税金计价表","index":8,"n_rows":42,"n_cols":9,"rows_kept":42,"merged":[[0,0,0,8],[2,0,2,2],[2,3,2,4],[2,5,2,8],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,2,38,3],[38,4,38,5],[38,6,38,7],[39,0,39,5],[39,6,39,7],[41,0,41,6],[41,7,41,8]],"flags":["formulas_cached_only"]}
["税金计价表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",null,null,"标段：",null,"第1页 共1页"]
["序号","项 目 名 称","计算基础",null,"计算基数",null,"费率(%)",null,"金额(元)"]
["1","税金","分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"33994.26",null,"10",null,"3399.43"]
{"$rows_empty":34}
["合  计",{"$nulls":7},"3399.43"]
[]
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":6},"2019年01月07日"]

{"sheet":"J.3 承包人提供材料(工程设备)一览表","index":9,"n_rows":42,"n_cols":11,"rows_kept":42,"merged":[[0,0,0,10],[2,0,2,3],[2,4,2,6],[2,7,2,10],[3,3,3,4],[3,6,3,8],[4,3,4,4],[4,6,4,8],[5,3,5,4],[5,6,5,8],[6,3,6,4],[6,6,6,8],[7,3,7,4],[7,6,7,8],[8,3,8,4],[8,6,8,8],[9,3,9,4],[9,6,9,8],[10,3,10,4],[10,6,10,8],[11,3,11,4],[11,6,11,8],[12,3,12,4],[12,6,12,8],[13,3,13,4],[13,6,13,8],[14,3,14,4],[14,6,14,8],[15,3,15,4],[15,6,15,8],[16,3,16,4],[16,6,16,8],[17,3,17,4],[17,6,17,8],[18,3,18,4],[18,6,18,8],[19,3,19,4],[19,6,19,8],[20,3,20,4],[20,6,20,8],[21,3,21,4],[21,6,21,8],[22,3,22,4],[22,6,22,8],[23,3,23,4],[23,6,23,8],[24,3,24,4],[24,6,24,8],[25,3,25,4],[25,6,25,8],[26,3,26,4],[26,6,26,8],[27,3,27,4],[27,6,27,8],[28,3,28,4],[28,6,28,8],[29,3,29,4],[29,6,29,8],[30,3,30,4],[30,6,30,8],[31,3,31,4],[31,6,31,8],[32,3,32,4],[32,6,32,8],[33,3,33,4],[33,6,33,8],[34,3,34,4],[34,6,34,8],[35,3,35,4],[35,6,35,8],[36,3,36,4],[36,6,36,8],[37,3,37,4],[37,6,37,8],[38,3,38,4],[38,6,38,8],[39,3,39,4],[39,6,39,8],[41,0,41,7],[41,8,41,10]],"flags":["formulas_cached_only"]}
["承包人提供材料(工程设备)一览表"]
[]
["工程名称：马鞍山市人民医院血透手术室维修改造工程",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号","计量单位","数量",null,"风险系数(%)","基准单价",null,null,"投标单价","备注"]
["1","水泥 32.5级","kg","55.847341",null,"0.00","0.47",null,null,"0.47"]
["2","中(粗)砂","t","0.181394",null,"0.00","150.49",null,null,"150.49"]
["3","砼标准砖 240×115×53","百块","1.81764",null,"0.00","78.64",null,null,"78.64"]
["4","成品铝合金平开门","m2","7.2576",null,"0.00","353.45",null,null,"353.45"]
["5","细木工板 18mm","m2","4.41",null,"0.00","53",null,null,"53"]
["6","铝塑板 3mm","m2","4.536",null,"0.00","53.58",null,null,"53.58"]
["7","PPR塑料给水管 DN25","m","8.9408",null,"0.00","6.97",null,null,"6.97"]
["8","UPVC塑料排水管 DN50","m","2.024",null,"0.00","5.51",null,null,"5.51"]
{"$rows_empty":29}
["安徽省建设工程造价计价软件测评合格编号2018JS-04【未来清单计价(安徽)V7.0】",{"$nulls":7},"2019年01月07日"]