{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":50,"n_cols":6,"rows_kept":50,"merged":[[0,0,0,5],[2,4,49,4]],"flags":["formulas_cached_only"]}
["秀山医院消毒供应中心设备清单"]
["序号","名称","数量\n（台/套）","使用科室","预算金额\n（万元）","备注"]
[1,"三舱长龙清洗机",1,"一体化供应室",1541.507,"进口"]
[2,"全自动清洗消毒机（配12个清洗框架）",1,"一体化供应室",null,"进口"]
[3,"过氧化氢等离子低温灭菌器 （含快速阅读器1个）",1,"一体化供应室",null,"进口"]
[4,"环氧乙烷灭菌系统（含解析器，医用封口机2个、快速阅读器1个）",1,"一体化供应室",null,"进口"]
[5,"织物清洗消毒系统（含清洗、烘干）",1,"一体化供应室"]
[6,"大型清洗消毒机",1,"一体化供应室"]
[7,"预真空高压蒸汽灭菌器（配进口快速阅读器一个）",4,"一体化供应室"]
[8,"追溯系统",1,"一体化供应室"]
[9,"器械手工清洗工作站",1,"一体化供应室"]
[10,"减压沸腾清洗消毒机",1,"一体化供应室"]
[11,"纯水处理系统",1,"一体化供应室"]
[12,"电路绝缘检测仪",1,"一体化供应室"]
[13,"干燥柜（其中一个是真空干燥柜）",2,"一体化供应室"]
[14,"内镜处理系统",1,"一体化供应室"]
[15,"洁净蒸汽发生器",8,"一体化供应室"]
[16,"中心供气的压缩空气 ",1,"一体化供应室"]
[17,"有害气体浓度超标报警器",1,"一体化供应室"]
[18,"不锈钢器械柜",20,"一体化供应室"]
[19,"不锈钢电动升降传递窗",4,"一体化供应室"]
[20,"不锈钢器械清点台",3,"一体化供应室"]
[21,"不锈钢带光源检查包装台",6,"一体化供应室"]
[22,"不锈钢敷料柜",8,"一体化供应室"]
[23,"无菌物品发放操作台",1,"一体化供应室"]
[24,"不锈钢带光源的敷料包装台",1,"一体化供应室"]
[25,"不带门不锈钢桌",8,"一体化供应室"]
[26,"带门不锈钢桌",10,"一体化供应室"]
[27,"不锈钢无菌物品存放架",12,"一体化供应室"]
[28,"不锈钢多层推车",1,"一体化供应室"]
[29,"去污区电动传递窗两边操作台",2,"一体化供应室"]
[30,"不锈钢推车",6,"一体化供应室"]
[31,"不锈钢圆转凳",20,"一体化供应室"]
[32,"无菌物品存放对接车",12,"一体化供应室"]
[33,"空气消毒机",2,"一体化供应室"]
[34,"污染物品回收、无菌物品下送车",10,"一体化供应室"]
[35,"清洁物品装载设备",4,"一体化供应室"]
[36,"纸塑袋切割机",1,"一体化供应室"]
[37,"中心供气的高压气枪",3,"一体化供应室"]
[38,"清洁篮筐车",4,"一体化供应室"]
[39,"一次性物品存放架",20,"一体化供应室"]
[40,"包装材料摆放架",4,"一体化供应室"]
[41,"洁车清洗高压水枪",1,"一体化供应室"]
[42,"洗眼器",1,"一体化供应室"]
[43,"灭菌篮筐",100,"一体化供应室"]
[44,"清洗篮筐",180,"一体化供应室"]
[45,"冷光源放大镜",6,"一体化供应室"]
[46,"供应室添置外科器械",300,"一体化供应室"]
[47,"不锈钢感应龙头水池",3,"一体化供应室"]
[48,"全自动清洗消毒机",2,"一体化供应室"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}