{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["1.1A.2 最高投标限价封面","1.2B.2 最高投标限价扉页","3.1D.3 单位工程最高投标限价汇总表","3.2E.1 分部分项工程量清单计价表","3.3F 措施项目清单与计价表","3.4G 不可竞争项目清单与计价表","3.5H.1 其他项目清单与计价汇总表","3.6I 税金计价表"],"not_rendered":{"external_links":1,"defined_names":8},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1A.2 最高投标限价封面","index":0,"n_rows":13,"n_cols":7,"rows_kept":13,"merged":[[1,2,1,5],[4,0,4,7],[6,1,6,2],[6,3,6,5],[9,1,9,2],[9,3,9,5],[12,0,12,7]],"flags":["formulas_cached_only"]}
[]
[null,null,"安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"工程"]
[]
[]
["最高投标限价"]
[]
[null,"招 标 人："]
[{"$nulls":4},"(单位盖章)"]
[]
[null,"造价咨询人："]
[{"$nulls":4},"(单位盖章)"]
[]
["2022年06月13日"]

{"sheet":"1.2B.2 最高投标限价扉页","index":1,"n_rows":19,"n_cols":9,"rows_kept":19,"merged":[[1,2,1,7],[1,8,1,9],[3,0,3,10],[5,0,5,3],[5,4,5,8],[7,1,7,3],[7,4,7,8],[9,0,9,2],[9,3,9,4],[9,7,9,10],[10,3,10,4],[10,7,10,10],[12,0,12,2],[12,3,12,4],[12,7,12,10],[13,3,13,4],[13,7,13,10],[15,0,15,2],[15,3,15,4],[15,7,15,10],[16,3,16,4],[16,7,16,10],[18,0,18,2],[18,3,18,4],[18,7,18,10]],"flags":["formulas_cached_only"]}
[]
[null,null,"安徽省马鞍山市人民医院耐压试验",{"$nulls":5},"工程"]
[]
["最高投标限价"]
[]
["最高投标限价(小写)：",{"$nulls":3},"175297.42"]
[]
[null,"           (大写)：",null,null,"壹拾柒万伍仟贰佰玖拾柒元肆角贰分"]
[]
["招  标  人：",{"$nulls":5},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
["法定代表人\n或其授权人：",{"$nulls":5},"法定代表人\n或其授权人："]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
["编  制  人：",{"$nulls":5},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
["编制时间：",null,null,"2022年6月13日星期一",null,null,"复核时间：","2022年6月13日星期一"]

{"sheet":"3.1D.3 单位工程最高投标限价汇总表","index":2,"n_rows":43,"n_cols":6,"rows_kept":43,"merged":[[0,0,0,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,1,3,2],[3,4,3,6],[4,1,4,2],[4,4,4,6],[5,1,5,2],[5,4,5,6],[6,1,6,2],[6,4,6,6],[7,1,7,2],[7,4,7,6],[8,1,8,2],[8,4,8,6],[9,1,9,2],[9,4,9,6],[10,1,10,2],[10,4,10,6],[11,1,11,2],[11,4,11,6],[12,1,12,2],[12,4,12,6],[13,1,13,2],[13,4,13,6],[14,1,14,2],[14,4,14,6],[15,1,15,2],[15,4,15,6],[16,1,16,2],[16,4,16,6],[17,1,17,2],[17,4,17,6],[18,1,18,2],[18,4,18,6],[19,1,19,2],[19,4,19,6],[20,1,20,2],[20,4,20,6],[21,1,21,2],[21,4,21,6],[22,1,22,2],[22,4,22,6],[23,1,23,2],[23,4,23,6],[24,1,24,2],[24,4,24,6],[25,1,25,2],[25,4,25,6],[26,1,26,2],[26,4,26,6],[27,1,27,2],[27,4,27,6],[28,1,28,2],[28,4,28,6],[29,1,29,2],[29,4,29,6],[30,1,30,2],[30,4,30,6],[31,1,31,2],[31,4,31,6],[32,1,32,2],[32,4,32,6],[33,1,33,2],[33,4,33,6],[34,1,34,2],[34,4,34,6],[35,1,35,2],[35,4,35,6],[36,1,36,2],[36,4,36,6],[37,1,37,2],[37,4,37,6],[38,1,38,2],[38,4,38,6],[39,1,39,2],[39,4,39,6],[40,0,40,2],[40,4,40,6],[42,0,42,5]],"flags":["formulas_cached_only"]}
["单位工程最高投标限价汇总表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,"金额(元)","其中:材料、设备暂估价(元)"]
["1","分部分项工程费",null,"141495.97","0.00"]
["1.1","配电房",null,"72095.22"]
["1.2","人民医院本部",null,"69400.75"]
["2","措施项目费",null,"5294.01"]
["3","不可竞争费",null,"14033.34"]
["3.1","安全文明施工费",null,"14033.34"]
["3.2","环境保护税",null,"0.00"]
["4","其他项目费",null,"0.00"]
["4.1","暂列金额",null,"0.00"]
["4.2","专业工程暂估价",null,"0.00"]
["4.3","计日工",null,"0.00"]
["4.4","总承包服务费",null,"0.00"]
["5","税金",null,"14474.10"]
{"$rows_empty":23}
["工程造价=1+2+3+4+5",null,null,"175297.42","0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]

{"sheet":"3.2E.1 分部分项工程量清单计价表","index":3,"n_rows":91,"n_cols":13,"rows_kept":91,"merged":[[0,0,0,12],[2,0,2,3],[2,4,2,7],[2,8,2,12],[3,0,5,0],[3,1,5,1],[3,2,5,2],[3,3,5,3],[3,4,5,4],[3,5,5,5],[3,6,3,12],[4,6,5,6],[4,7,5,9],[4,10,4,12],[6,2,6,3],[6,7,6,9],[7,7,7,9],[8,7,8,9],[9,7,9,9],[10,7,10,9],[11,7,11,9],[12,7,12,9],[13,7,13,9],[14,7,14,9],[15,7,15,9],[16,7,16,9],[17,7,17,9],[18,7,18,9],[19,7,19,9],[20,2,20,3],[20,7,20,9],[21,2,21,3],[21,7,21,9],[22,7,22,9],[23,7,23,9],[24,7,24,9],[25,7,25,9],[26,7,26,9],[28,0,28,8],[29,0,29,12],[31,0,31,3],[31,4,31,7],[31,8,31,12],[32,0,34,0],[32,1,34,1],[32,2,34,2],[32,3,34,3],[32,4,34,4],[32,5,34,5],[32,6,32,12],[33,6,34,6],[33,7,34,9],[33,10,33,12],[35,7,35,9],[36,7,36,9],[37,7,37,9],[38,2,38,3],[38,7,38,9],[39,7,39,9],[40,7,40,9],[41,7,41,9],[42,7,42,9],[43,7,43,9],[44,7,44,9],[45,7,45,9],[46,7,46,9],[47,2,47,3],[47,7,47,9],[48,7,48,9],[49,7,49,9],[50,7,50,9],[51,7,51,9],[52,7,52,9],[53,7,53,9],[55,0,55,8],[56,0,56,12],[58,0,58,3],[58,4,58,7],[58,8,58,12],[59,0,61,0],[59,1,61,1],[59,2,61,2],[59,3,61,3],[59,4,61,4],[59,5,61,5],[59,6,59,12],[60,6,61,6],[60,7,61,9],[60,10,60,12],[62,7,62,9],[63,7,63,9],[64,7,64,9],[65,7,65,9],[66,7,66,9],[67,7,67,9],[68,7,68,9],[69,7,69,9],[70,7,70,9],[71,7,71,9],[72,7,72,9],[73,7,73,9],[74,7,74,9],[75,7,75,9],[76,7,76,9],[77,7,77,9],[78,7,78,9],[79,7,79,9],[80,7,80,9],[81,7,81,9],[82,7,82,9],[83,7,83,9],[84,7,84,9],[85,7,85,9],[86,7,86,9],[87,7,87,9],[88,7,88,9],[90,0,90,8]],"flags":["formulas_cached_only"]}
["分部分项工程量清单计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"标段：",{"$nulls":3},"第1页 共3页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
[null,null,"一 配电房",null,null,"1","72095.22","72095.22",null,null,"17534.44","16911.97","0.00"]
["1","030414001001","电力变压器系统","1.名称：变压器\n2.型号：SCB11-2000/10","系统","4","3576.19","14304.76",null,null,"5504.24","4742.40","0.00"]
["2","WB030414026001","避雷器调试","1.名称：氧化锌避雷","套","10","816.77","8167.70",null,null,"2861.60","3012.50","0.00"]
["3","030414015001","电缆试验","1.名称：高压电缆\n2.型号：YJV22  3*300","根","2","2020.00","4040.00",null,null,"2233.56","569.70","0.00"]
["4","030402006002","隔离开关","1.名称：断路器\n2.型号：1250A","组","1","24735.32","24735.32",null,null,"378.14","13.42","0.00"]
["5","030414002026","送配电装置系统","1.名称：断路器调试\n2.型号：1250A","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["6","030414002001","送配电装置系统","1.名称：熔断器","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["7","030414002002","送配电装置系统","1.名称：高压计量柜\n2.型号：KYN28A-12 10KV 1250A","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["8","030414002003","送配电装置系统","1.名称：高压进线柜\n2.型号：KYN28A-12 10KV 1250A","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["9","030414002004","送配电装置系统","1.名称：高压PT柜\n2.型号：KYN28A-12 10KV 630A","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["10","030414002005","送配电装置系统","1.名称：高压馈电柜\n2.型号：KYN28A-12 10KV 630A","系统","4","1226.32","4905.28",null,null,"1542.80","2017.40","0.00"]
["11","030414002006","送配电装置系统","1.名称：高压母联柜\n2.型号：KYN28A-12 10KV 630A","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["12","030414002007","送配电装置系统","1.名称：高压隔离柜\n2.型号：KYN28A-12 10KV 630A","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["13","030414002009","送配电装置系统","1.名称：户外真空断路器\n2.型号：GTXGN15/12/V 10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
[null,null,"二 人民医院本部",null,null,"1","69400.75","69400.75",null,null,"27545.70","22039.83","0.00"]
[null,null,"2.1 变电箱",null,null,"1","11961.61","11961.61",null,null,"4447.66","4132.83","0.00"]
["14","030414001002","电力变压器系统","1.名称：变压器\n2.型号：S11-M800/10","系统","1","1359.70","1359.70",null,null,"543.90","422.48","0.00"]
["15","WB030414026002","避雷器调试","1.名称：氧化锌避雷针\n2.类型：HY5WS-17/50","套","3","816.77","2450.31",null,null,"858.48","903.75","0.00"]
["16","030414015002","电缆试验","1.名称：高压电缆\n2.型号：YJV22  3*50","根","1","2020.00","2020.00",null,null,"1116.78","284.85","0.00"]
["17","030414002010","送配电装置系统","1.名称：熔断器\n2.型号：NCX12-200/12.5","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["18","030414002011","送配电装置系统","1.名称：高压计量柜\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]
["分部分项工程量清单计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"标段：",{"$nulls":3},"第2页 共3页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
["19","030414002012","送配电装置系统","1.名称：高压PT柜\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["20","030414002013","送配电装置系统","1.名称：高压馈电柜\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
["21","030414002014","送配电装置系统","1.名称：户外真空断路器\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
[null,null,"2.2 1#配电房",null,null,"1","29536.34","29536.34",null,null,"11835.18","9254.75","0.00"]
["22","030414001003","电力变压器系统","1.名称：变压器\n2.型号：SCB-1000/10","系统","2","3576.19","7152.38",null,null,"2752.12","2371.20","0.00"]
["23","WB030414026003","避雷器调试","1.名称：氧化锌避雷针\n2.类型：HY5WS-17/50","套","4","816.77","3267.08",null,null,"1144.64","1205.00","0.00"]
["24","030414002015","送配电装置系统","1.名称：环网柜\n2.型号：XGW-12-SSSS","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["25","030414015003","电缆试验","1.名称：高压电缆\n2.型号：YJV22  3*95","根","4","2020.00","8080.00",null,null,"4467.12","1139.40","0.00"]
["26","030414002016","送配电装置系统","1.名称：高压计量柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["27","030414002017","送配电装置系统","1.名称：高压PT柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["28","030414002018","送配电装置系统","1.名称：高压出线柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["29","030414002019","送配电装置系统","1.名称：户外真空断路器\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
[null,null,"2.3 2#配电房",null,null,"1","27902.80","27902.80",null,null,"11262.86","8652.25","0.00"]
["30","030414001004","电力变压器系统","1.名称：变压器\n2.型号：SCB-1000/10","系统","2","3576.19","7152.38",null,null,"2752.12","2371.20","0.00"]
["31","WB030414026004","避雷器调试","1.名称：氧化锌避雷针\n2.类型：HY5WS-17/50","套","2","816.77","1633.54",null,null,"572.32","602.50","0.00"]
["32","030414002020","送配电装置系统","1.名称：环网柜\n2.型号：XGW-12-SSSS","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["33","030414015004","电缆试验","1.名称：高压电缆\n2.型号：YJV22  3*95","根","4","2020.00","8080.00",null,null,"4467.12","1139.40","0.00"]
["34","030414002021","送配电装置系统","1.名称：高压计量柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
[]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]
["分部分项工程量清单计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"标段：",{"$nulls":3},"第3页 共3页"]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额:(元)"]
[{"$nulls":6},"综合\n单价","合价",null,null,"其中"]
[{"$nulls":10},"定额\n人工费","定额\n机械费","暂估价"]
["35","030414002022","送配电装置系统","1.名称：高压PT柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["36","030414002023","送配电装置系统","1.名称：高压出线柜\n2.型号：10KV","系统","2","1226.32","2452.64",null,null,"771.40","1008.70","0.00"]
["37","030414002024","送配电装置系统","1.名称：户外真空断路器\n2.型号：10KV","系统","1","1226.32","1226.32",null,null,"385.70","504.35","0.00"]
{"$rows_empty":25}
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]

{"sheet":"3.3F 措施项目清单与计价表","index":4,"n_rows":33,"n_cols":9,"rows_kept":33,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,3,29,6],[30,0,30,2],[30,3,30,6],[32,0,32,5]],"flags":["formulas_cached_only"]}
["措施项目清单与计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","AC-01","夜间施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.5","420.16"]
["2","AC-02","二次搬运费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"1","840.32"]
["3","AC-03","冬雨季施工增加费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.7","588.22"]
["4","AC-04","已完工程及设备保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.3","252.10"]
["5","AC-05","工程定位复测费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.6","504.19"]
["6","AC-06","非夜间施工照明费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.6","504.19"]
["7","AC-07","临时保护设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"0.1","84.03"]
["8","AC-08","赶工措施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"2.5","2100.80"]
{"$rows_empty":18}
["合  计",{"$nulls":7},"5294.01"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]

{"sheet":"3.4G 不可竞争项目清单与计价表","index":5,"n_rows":37,"n_cols":9,"rows_kept":37,"merged":[[0,0,0,8],[2,0,2,3],[2,5,2,8],[3,3,3,6],[4,3,4,6],[5,3,5,6],[6,3,6,6],[7,3,7,6],[8,3,8,6],[9,3,9,6],[10,3,10,6],[11,3,11,6],[12,3,12,6],[13,3,13,6],[14,3,14,6],[15,3,15,6],[16,3,16,6],[17,3,17,6],[18,3,18,6],[19,3,19,6],[20,3,20,6],[21,3,21,6],[22,3,22,6],[23,3,23,6],[24,3,24,6],[25,3,25,6],[26,3,26,6],[27,3,27,6],[28,3,28,6],[29,3,29,6],[30,3,30,6],[31,3,31,6],[32,3,32,6],[33,3,33,6],[34,0,34,2],[34,3,34,6],[36,0,36,5]],"flags":["formulas_cached_only"]}
["不可竞争项目清单与计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",{"$nulls":3},"标段：","第1页 共1页"]
["序号","项目编码","项目名称","计算基础",{"$nulls":3},"费率(%)","金额(元)"]
["1","AF-01","环境保护费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"1.78","1495.77"]
["2","AF-02","文明施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"6.1","5125.95"]
["3","AF-03","安全施工费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"4.22","3546.15"]
["4","AF-04","临时设施费","(分部分项清单定额人工费+分部分项清单定额机械费)-(大型机械进退场定额人工费+大型机械进退场定额机械费)",{"$nulls":3},"4.6","3865.47"]
["5","AF-05","环境保护税",{"$nulls":4},"0","0.00"]
{"$rows_empty":25}
["合  计",{"$nulls":7},"14033.34"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]

{"sheet":"3.5H.1 其他项目清单与计价汇总表","index":6,"n_rows":43,"n_cols":5,"rows_kept":43,"merged":[[0,0,0,4],[2,0,2,1],[2,3,2,4],[3,1,3,3],[4,1,4,3],[5,1,5,3],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,1,14,3],[15,1,15,3],[16,1,16,3],[17,1,17,3],[18,1,18,3],[19,1,19,3],[20,1,20,3],[21,1,21,3],[22,1,22,3],[23,1,23,3],[24,1,24,3],[25,1,25,3],[26,1,26,3],[27,1,27,3],[28,1,28,3],[29,1,29,3],[30,1,30,3],[31,1,31,3],[32,1,32,3],[33,1,33,3],[34,1,34,3],[35,1,35,3],[36,1,36,3],[37,1,37,3],[38,1,38,3],[39,1,39,3],[40,0,40,3],[42,0,42,3]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",null,"标段：","第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,"0.00"]
["2","专业工程暂估价",null,null,"0.00"]
["3","计日工",null,null,"0.00"]
["4","总承包服务费",null,null,"0.00"]
{"$rows_empty":32}
["合  计",{"$nulls":3},"0.00"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]

{"sheet":"3.6I 税金计价表","index":7,"n_rows":42,"n_cols":9,"rows_kept":42,"merged":[[0,0,0,8],[2,0,2,2],[2,3,2,4],[2,5,2,8],[3,2,3,3],[3,4,3,5],[3,6,3,7],[4,2,4,3],[4,4,4,5],[4,6,4,7],[5,2,5,3],[5,4,5,5],[5,6,5,7],[6,2,6,3],[6,4,6,5],[6,6,6,7],[7,2,7,3],[7,4,7,5],[7,6,7,7],[8,2,8,3],[8,4,8,5],[8,6,8,7],[9,2,9,3],[9,4,9,5],[9,6,9,7],[10,2,10,3],[10,4,10,5],[10,6,10,7],[11,2,11,3],[11,4,11,5],[11,6,11,7],[12,2,12,3],[12,4,12,5],[12,6,12,7],[13,2,13,3],[13,4,13,5],[13,6,13,7],[14,2,14,3],[14,4,14,5],[14,6,14,7],[15,2,15,3],[15,4,15,5],[15,6,15,7],[16,2,16,3],[16,4,16,5],[16,6,16,7],[17,2,17,3],[17,4,17,5],[17,6,17,7],[18,2,18,3],[18,4,18,5],[18,6,18,7],[19,2,19,3],[19,4,19,5],[19,6,19,7],[20,2,20,3],[20,4,20,5],[20,6,20,7],[21,2,21,3],[21,4,21,5],[21,6,21,7],[22,2,22,3],[22,4,22,5],[22,6,22,7],[23,2,23,3],[23,4,23,5],[23,6,23,7],[24,2,24,3],[24,4,24,5],[24,6,24,7],[25,2,25,3],[25,4,25,5],[25,6,25,7],[26,2,26,3],[26,4,26,5],[26,6,26,7],[27,2,27,3],[27,4,27,5],[27,6,27,7],[28,2,28,3],[28,4,28,5],[28,6,28,7],[29,2,29,3],[29,4,29,5],[29,6,29,7],[30,2,30,3],[30,4,30,5],[30,6,30,7],[31,2,31,3],[31,4,31,5],[31,6,31,7],[32,2,32,3],[32,4,32,5],[32,6,32,7],[33,2,33,3],[33,4,33,5],[33,6,33,7],[34,2,34,3],[34,4,34,5],[34,6,34,7],[35,2,35,3],[35,4,35,5],[35,6,35,7],[36,2,36,3],[36,4,36,5],[36,6,36,7],[37,2,37,3],[37,4,37,5],[37,6,37,7],[38,2,38,3],[38,4,38,5],[38,6,38,7],[39,0,39,5],[39,6,39,7],[41,0,41,6]],"flags":["formulas_cached_only"]}
["税金计价表"]
[]
["工程名称：安徽省马鞍山市人民医院耐压试验",null,null,"标段：",null,"第1页 共1页"]
["序号","项 目 名 称","计算基础",null,"计算基数",null,"费率(%)",null,"金额(元)"]
["1","税金","分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"160823.32",null,"9",null,"14474.10"]
{"$rows_empty":34}
["合  计",{"$nulls":7},"14474.10"]
[]
["安徽省建设工程造价计价软件测评合格编号2021JS-05【未来清单计价(安徽)V7.3】"]