{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":35,"n_cols":6,"rows_kept":35,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["外科系统常规器械"]
["序号","名称","规格","数量","单位","备注"]
[1,"框架拉钩",null,2,"套","普外科"]
[2,"腹腔三叶拉钩",null,3,"个","普外科"]
[3,"腹腔自动拉钩",null,2,"个","普外科"]
[4,"各种直角拉钩","大、中、小",1,"套","普外科"]
[5,"冷光源拉钩（含冷光源）","大、中、小",1,"套","普外科"]
[6,"血管吻合器械及血管泵",null,1,"套","普外科"]
[7,"荷包缝合钳","大、中、小",1,"套","普外科"]
[8,"可吸收夹钳",null,4,"把","普外科"]
[9,"中弯止血钳","180 弯全",5,"把","妇产科"]
[10,"大弯止血钳","220 弯全",1,"把","妇产科"]
[11,"换药碗",null,2,"个","妇产科"]
[12,"拆线剪","140*28",1,"把","妇产科"]
[13,"线剪","140 直圆",1,"把","妇产科"]
[14,"弯盘",null,3,"个","妇产科"]
[15,"宫颈钳","250 2*3齿 直",2,"把","妇产科"]
[16,"宫颈扩张棒","4号-8号各一把",5,"个","妇产科"]
[17,"子宫探针","直",1,"套","妇产科"]
[18,"取环钩",null,1,"个","妇产科"]
[19,"组织剪","140 弯圆",1,"把","妇产科"]
[20,"持针器","180 直",1,"把","妇产科"]
[21,"刀柄","125mm",1,"把","妇产科"]
[22,"刮匙","4号-6号各一把",3,"把","妇产科"]
[23,"有齿卵圆钳","320 弯",2,"把","妇产科"]
[24,"会阴剪",180,1,"把","妇产科"]
[25,"宫颈活检钳","3.5mm 230管式圆头",1,"把","妇产科"]
[26,"组织镊","140 3*4钩",1,"把","妇产科"]
[27,"无菌缸",null,5,"个","妇产科"]
[28,"窥阴器",null,1,"/","妇产科"]
[29,"医用镊",250,1,"把","妇产科"]
[30,"吸头","5号-8号各一把",4,"把","妇产科"]
[31,"带烟管窥阴器","鸭嘴式",2,"个","妇产科"]
[32,"破膜钳",260,1,"把","妇产科"]
[33,"阴道压板","250*30*35平板式",1,"块","妇产科"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}